## How to Use
HOW TO USE THIS CALCULATOR
STEP 1: Enter Your Facility Information
Monthly Admissions: Enter the average number of babies admitted to your neonatal unit per month
Level of Care: Select your facility type from the dropdown:
Level II-Basic: Community/mission hospitals, district facilities
Level II-Comprehensive: Regional hospitals, secondary care facilities
Level III: Tertiary/referral centers, teaching hospitals
STEP 2: Review the Results The calculator automatically shows:
CPAP Devices Needed: The recommended number of CPAP devices for your facility
95% Confidence Interval: The range of devices needed (e.g., 4-8 devices)
The lower number represents minimum capacity
The upper number provides buffer for high-demand periods
STEP 3: Interpret the Range
Procurement planning: Use the upper bound to ensure adequate capacity
Budget scenarios: Use the range to develop minimum/optimal budgets
Phased implementation: Start with the lower estimate, expand toward upper bound
OPTIONAL: Adjust Parameters If your facility has different characteristics, you can modify:
Eligibility rate (if you have local data on CPAP need)
Length of stay (if your treatment protocols differ)
Surge factor (if you experience different seasonal patterns)
EXAMPLE:
Monthly Admissions: 150
Level of Care: Level II-Comprehensive
Result: 6 CPAP devices (95% CI: 4-8 devices)
Interpretation: Your facility needs approximately 6 CPAP devices.
Plan for 4-8 devices depending on budget and seasonal variation.
IMPORTANT NOTES:
This calculator estimates devices for continuous operation (24/7 availability)
Results assume typical case mix for your level of care
Local factors (referral patterns, protocols) may require adjustment
Consult with clinical teams before finalizing procurement decisions

## CPAP Calculator
NEONATAL CPAP DEVICE ESTIMATION TOOL
Enter monthly admissions and select level of care
USER INPUTS
Facility Level Guide: > Level II-Basic: Small district, mission, CHAM hospitals (basic special care, limited lab) > Level II-Comprehensive: Large district, regional hospitals (comprehensive special care, mobile X-ray, transfusion) > Level III: Tertiary, national, teaching hospitals (intensive care, mechanical ventilation, surgery)
Monthly Admissions: | 300
Level of Care: | Level III
PARAMETERS (editable - change if needed)
| Level II-Basic | Level II-Comprehensive | Level III
Eligibility Rate | 17.8% | 16.4% | 27.9%
LOS (average days on CPAP) | 3 | 3 | 3
Surge Factor | 2 | 2 | 2
Maintenance Buffer | 5% | 5% | 5%
STANDARD ERRORS (for 95% CI)
| Level II-Basic | Level II-Comprehensive | Level III
SE Eligibility | 0.00973 | 0.0107 | 0.0333
SE LOS | 0.5 | 0.5 | 0.5
SE Surge | 0 | 0 | 0
CALCULATION BREAKDOWN
Daily concurrent demand | 8.37
Peak demand (with surge) | 16.74
With maintenance buffer | 17.577
Standard Error of estimate | 3.6032
RESULTS
CPAP Devices Needed: | 18
95% Confidence Interval: | 11 to 26 devices
1) Enter average monthly admissions.
2) Select neonatal care level (WHO classification).
Your estimated devices (including range) will appear here.

## Parameter documentation
PARAMETER DOCUMENTATION
LEVELS OF CARE - FACILITY LEVEL CLASSIFICATION | PARAMETER SOURCES
This tool categorizes facilities into three levels based on WHO's framework for inpatient neonatal care. All three levels provide CPAP, which is classified by WHO as a special care intervention at the secondary (Level II) health system level. | Eligibility Rate by Level of Care: Source: Facilities with moderate-to-good CPAP coverage (Level II-Basic/Level II-Comprehensive: 40-85%, Level III: 50-85%) Level I-Basic: 17.8% (SE=0.97%, n=11 facilities, coverage range 46-80%) Level II-Comprehensive: 16.4% (SE=1.07%, n=23 facilities, coverage range 41-83%) Level III: 27.9% (SE=3.33%, n=6 facilities, coverage range 51-85%)
> Level II-Basic (WHO: Secondary - Special Care) | Rationale: Excludes low-coverage facilities (<40%) where documentation may be incomplete, and high-coverage facilities (>85%) where eligibility estimates become artificially inflated.
Small district hospitals, mission hospitals, and CHAM facilities providing basic special newborn care. These facilities are meant to have CPAP, oxygen delivery systems, intravenous fluids, antibiotics, phototherapy, and kangaroo mother care. They are meant to have basic diagnostics (glucometer) but limited laboratory capacity and no mechanical ventilation. | Calibration approach: Median eligibility rate across selected facilities. Eligibility determined by weight-stratified clinical criteria (<2000g) or expert opinion rates (≥2000g), with the principle that any baby who received CPAP was eligible (ensures coverage ≤100%).
> Level II-Comprehensive (WHO: Secondary - Special Care) | Length of Stay (LOS): Source: Expert clinical consensus Value: 3.0 days (SE=0.5 days)
Large secondary, county and regional referral hospitals aiming to provide comprehensive special newborn care. These facilities are meant to have all Level II-Basic capabilities plus mobile X-ray, blood transfusion services, more advanced diagnostics, and specialized nursing staff available 24/7. Some may be transitioning toward intensive care capabilities | Rationale: Represents typical CPAP treatment duration for neonates requiring respiratory support in low-resource settings across sub-Saharan Africa.
Surge Factor: Source: Expert clinical consensus Value: 2.0 (100% surge above average demand)
> Level III (WHO: Tertiary - Intensive Care): | Rationale: Accounts for seasonal variation and peak admission periods common in neonatal units.
Zonal hospitals, teaching hospitals, and national referral centers aiming to provide intensive newborn care. These facilities would have mechanical ventilation, surfactant therapy, specialized neonatology staff 24/7, pediatric surgery, total parenteral nutrition (TPN), retinopathy of prematurity (ROP) screening, and subspecialty services | Maintenance Buffer: Source: Equipment functional rate analysis across NEST360 Phase I facilities Value: 3.4% (equipment downtime for repairs)
Note: Both Level II-Basic and Level II-Comprehensive correspond to WHO Level II (special care) but differ in scope and resource availability. This distinction is clinically important because CPAP eligibility rates differ between these facility types (17.8% vs 16.4%), likely reflecting differences in case mix severity, catchment population size, and referral patterns. | Rationale: Represents average proportion of CPAP devices non-functional at any given time due to repairs, maintenance, and calibration needs.
WHO Reference: WHO (2020). Standards for improving the quality of care for small and sick newborns in health facilities. Pages 59-60 (Figure 3.2). | FACILITY SAMPLE
https://iris.who.int/server/api/core/bitstreams/dc4ffcca-8e21-403f-841a-75f37c44028d/content | Total facilities included: 40 across 5 countries (Malawi, Kenya, Tanzania, Nigeria, Ethiopia) Data period: January 2021 - December 2025 (Ethiopia excludes 2024) Inclusion criteria:
Sample: ≥30 eligible CPAP patients during study period
Coverage thresholds used: CPAP coverage 40-85% (Level II-Basic/II-Comprehensive) or 50-85% (Level III)
By level of care:
Level II-Basic (community/district): 11 facilities
Level II-Comprehensive (regional/secondary/referral): 23 facilities
Level III (teaching/specialized/tertiary): 6 facilities
CALCULATION FORMULA
Step 1: Daily concurrent demand = (Monthly admissions × Eligibility rate × LOS) / 30 Step 2: Peak demand = Daily concurrent × Surge factor Step 3: With maintenance = Peak demand × (1 + Maintenance buffer) Step 4: CPAP needed = ROUNDUP(With maintenance, 0)
95% CONFIDENCE INTERVAL
Calculated using propagation of uncertainty: SE_total = Estimate × √[(SE_elig/Elig)² + (SE_los/LOS)²] 95% CI = Estimate ± 1.96 × SE_total
Note: Surge factor (fixed value) does not contribute to uncertainty calculation.
DATA QUALITY CONTROLS
✓ Coverage validity: All facilities verified ≤100% coverage ✓ Sample size: Minimum 30 eligible patients per facility ✓ Clinical plausibility: Eligibility rates 15-30% (consistent with literature) ✓ Outlier exclusion: Facilities with >85% coverage excluded from calibration