CPAP DEVICE ESTIMATION TOOL
Parameter Calibration Summary

# Table 1: Parameter Sources and Calibration Approach

| Parameter | Value by Level | Source | Calibration Method | Sample Size | Rationale |
| --- | --- | --- | --- | --- | --- |
| Eligibility Rate | Level I: 17.8% Level II: 16.4% Level III: 27.9% | Facility patient data (2021-2025) | Median across facilities with 40-85% coverage (Level I/II) or 50-85% coverage (Level III), minimum 30 eligible patients | Level I: n=11 Level II: n=23 Level III: n=6 | Excludes low-coverage facilities (<40%) where documentation may be incomplete, and high-coverage facilities (>85%) where hybrid eligibility logic inflates estimates |
| Length of Stay (LOS) | 3.0 days (all levels) | Expert opinion | Fixed parameter based on clinical consensus | N/A | Represents typical CPAP duration for neonates requiring respiratory support in low-resource settings |
| Surge Factor | 2.0 (all levels) | Expert opinion | Fixed multiplier for peak demand | N/A | Accounts for seasonal variation and peak admission periods (100% surge above average) |
| Maintenance Buffer | 5% (all levels) | Equipment audit data | Mean proportion of non-functional devices across all facilities | Equipment assessments from multiple sites | Represents average equipment downtime due to repairs, maintenance, and calibration |

# Table 2: Eligibility Rate Calibration Details

| Level | Coverage Range Used | n Facilities | Median Eligibility | 95% CI | IQR | Standard Error |
| --- | --- | --- | --- | --- | --- | --- |
| Level I | 46%-80% | 11 | 17.8% | 15.9%-19.7% | 15.8%-20.0% | 0.97% |
| Level II | 41%-83% | 23 | 16.4% | 14.3%-18.5% | 13.7%-18.1% | 1.07% |
| Level III | 51%-85% | 6 | 27.9% | 21.3%-34.4% | 25.0%-33.3% | 3.33% |

# Table 3: Eligibility Determination Method by Birth Weight

| Birth Weight Category | Eligibility Method | Details |
| --- | --- | --- |
| <1000g (ELBW) | Clinical criteria | Prophylactic CPAP per protocol |
| 1000-1499g (VLBW) | Clinical criteria | Prophylactic CPAP per protocol |
| 1500-1999g (LBW) | Clinical criteria | Treatment CPAP based on documented respiratory distress (SpO₂ <90% + respiratory signs) or RDS diagnosis |
| 2000-2499g | Expert rate (8%) | Applied to all admissions in this category |
| 2500-4000g (Normal) | Expert rate (5%) | Applied to all admissions in this category |
| >4000g (Large) | Expert rate (5%) | Applied to all admissions in this category |

Key principle: If a baby received CPAP, they are counted as eligible regardless of documented criteria (ensures coverage ≤100% and respects clinical judgment)

# Table 4: Coverage Band Analysis (Why 40-85% was chosen)

| Coverage Band | Level I Median Eligibility | Level II Median Eligibility | Level III Median Eligibility | Interpretation |
| --- | --- | --- | --- | --- |
| Low (<50%) | 15.9% (n=2) | 16.4% (n=24) | 15.7% (n=3) | Stable estimates despite low coverage |
| Medium (50-70%) | 19.7% (n=5) | 16.4% (n=11) | 21.9% (n=2) | Most stable across levels |
| Good (70-85%) | 17.6% (n=5) | 14.3% (n=4) | 30.8% (n=4) | Consistent with lower bands |
| High (>85%) | 22.2% (n=4) | 37.7% (n=9) | 42.9% (n=8) | Artificial inflation - EXCLUDED |

Decision: Facilities with >85% coverage show artificially inflated eligibility (37.7%-42.9% vs 14.3%-21.9%) due to the hybrid eligibility logic (eligible = max(criteria, actual receipt)). These were excluded from calibration.

# Table 5: Estimation Formula

| Step | Formula | Example (Level II, 150 admits/month) |
| --- | --- | --- |
| 1. Daily concurrent eligible | (Monthly admissions × Eligibility rate × LOS) / 30 | (150 × 0.164 × 3) / 30 = 2.46 |
| 2. Peak demand | Daily concurrent × Surge factor | 2.46 × 2.0 = 4.92 |
| 3. With maintenance buffer | Peak demand × (1 + Maintenance %) | 4.92 × 1.05 = 5.2 |
| 4. CPAP devices needed | ROUNDUP(Step 3) | 6 devices |
| 5. 95% Confidence Interval | Devices ± 1.96 × SE | 4-8 devices |

# Table 6: Data Sources and Time Periods

| Data Element | Source | Time Period |
| --- | --- | --- |
| Patient admissions & eligibility | NEST360 Phase I patient database | Jan 2021 - Dec 2025 |
| CPAP administration | NEST360 patient records (in_cp_admin field) | Jan 2021 - Dec 2025 |
| Facility characteristics | HFA – type of facility (district, county, referral, regional, zonal, tertiary, teaching/specialized etc). | 2025 |
| Equipment functionality | Equipment audit data/context tracker | Multiple assessments |

Exclusions: Ethiopia 2024 data (no patient records in this period)

# Table 7: Quality Control & Validation

| Check | Criterion |
| --- | --- |
| Coverage validity | All facility coverage ≤100% |
| Sample size adequacy | ≥30 eligible patients per facility |
| Missing data | Facilities with missing level of care excluded |
| Outlier detection | Facilities with coverage >85% excluded from calibration |
| Clinical plausibility | Eligibility rates 15-30% (consistent with literature) |
| Standard errors | SE <5% for Level I/II, acceptable for Level III given smaller n |

# Methodological Strengths

Data-driven eligibility rates - Derived from 40 facilities with adequate coverage

Hybrid eligibility approach - Respects clinical judgment (if baby got CPAP, was eligible) while using documented criteria as baseline

Coverage-stratified calibration - Excludes facilities where data quality is compromised* (too low) or inflated (too high)

Transparent uncertainty quantification - 95% confidence intervals provided based on inter-facility variation

Clinically grounded fixed parameters - LOS (3 days) and surge (2x) based on expert view where data were insufficient

# Limitations

Level III small sample - Only 6 facilities, leading to wider confidence intervals (21%-34%)

Expert opinion for LOS and surge - Operational data were available but deemed less reliable (as biased when death occurs too soon or baby weaned off too early) than expert consensus

Geographic variation not captured - Parameters pooled across 5 countries (Malawi, Kenya, Tanzania, Nigeria, Ethiopia)

Point-in-time calibration - Based on 2021-2025 data; may need recalibration as care practices evolve